## Slide 1: Group Design – Principal Tower
By Group 4

## Slide 2: Contents Page
Client Requirements
Constraints
Masterplan
Schemes Proposed
Tower Location
Proposed Scheme 1
Proposed Scheme 2
Proposed Developed Design
Winter Garden
Lateral Stability
Load Path/Take Down
Sustainability
Health & Safety
Short Summary

## Slide 3: Client Requirements
Protected view
Area requirements
Must be iconic by defining London’s skyline
Mechanical and Electrical (M&E) clearance of 600mm
BREEAM - Aim at Outstanding, minimum acceptable Excellent
Winter Garden (will be discussed in further detail on slide 11)

## Slide 4: Constraints
The following constraints had an impact on the design of the project:
The underground tunnel
Protected view corridor
Must be built within the site boundary
Noise (35dB)

## Slide 5: Masterplan
The masterplan consists of 3 mixed-use buildings containing residential, affordable housing, offices, retail and landscape.
Innovative design had been created for the masterplan by using Google Sketchup & Autodesk Revit in order to grab the clients interest.

## Slide 6: Schemes Proposed
Conceptual design comprising of two proposed design of the tower:
Scheme One (Recommended)
Scheme Two (Other possible scheme)

## Slide 7: Tower Location
Real world site location
Our tower location
Site situated between Worship Street & Shoreditch High Street
Tower is located in the site boundary, outside the underground area zone.

## Slide 8: Proposed Scheme 1
Scheme 1– Steel Frame
Concrete core with structural steel framing
Bracing
Fireproof
Good under tension
Weak in compression

## Slide 9: Proposed Scheme 2
Scheme 2 – Concrete Frame
Concrete core with structural concrete framing
Fireproof
Good under compression
Weak in tension

## Slide 10: Proposed Developed Design
Final design geared to amaze the client!

## Slide 11: Winter Garden (Additional requirement)
Clients requirement met by proposing the following:
Removed all internal columns
Spread over three floors
Garden area/Open space – residents only
Reduced some external columns
Truss system implemented

## Slide 12: Lateral Stability
Lateral stability needs to be taken into consideration especially if the highest point of the building is measured at 155m:
Cross bracing
Concrete core

## Slide 13: Load Path/Take down
Load path needs to be considered as it’s a 57 floor high rise building:
Slab to Beams (Primary/Secondary)
Beam to Column
Column to Pile Cap
Pile cap to Piles

## Slide 14: Sustainability
Client is committed to reduce carbon footprint so we’ve taken the following in to consideration:
Aiming for BREEAM level of excellent
Double glazed energy efficient curtain walls
Use of recycled materials
Use of cement replacements (PFA,GGBS..etc)
4 Solar panels at roof level (+155m AOD)

## Slide 15: Health & Safety
As the design consultants we make sure that the principal contractor has an adequate risk assessment in place:
Fire proof structure
Fire exits
Smoke alarms
Aviation light
Sprinkler
Air ventilation

## Slide 16: Short Summary
We believe we are offering the best ‘value for money’ to the client due to following reason:
Avoided construction in the underground zone (Time/Money)
Utilised a jump form construction system (Time/Money)
Top down construction method as opposed to Bottom Up (Time)
Re-used recycled construction materials (Money)

## Slide 17: The End!
      THANK YOU for listening!
Any questions?